## 5_29_25_presto_tango_ag_as_anta
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Formula | Measurement date
1 | 1 |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Calc 1: Crosstalk = Crosstalk correction where Label : US LUM 384 with a little distance from the aperture(1) channel 1 | 2025-05-29 14:32
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | US LUM 384 with a little distance from the aperture | 0 | 4 | 0.1 | 0:00 | De=USLum Ex=N/A Em=N/A Wdw=N/A (12)
75160 | 7920 | 173080 | 9120 | 108880 | 49640 | 112520 | 118720 | 135480 | 88520 | 96800 | 95960 | 7080 | 5600 | 75640 | 105200 | 112200 | 40560 | 113640 | 114400 | 112520 | 76760 | 74840 | 50120
42000 | 85480 | 39600 | 64640 | 63480 | 82200 | 88360 | 87600 | 39720 | 38760 | 34400 | 52240 | 71680 | 83200 | 73920 | 85680 | 73480 | 65160 | 91000 | 75640 | 54960 | 50760 | 38880 | 53720
49560 | 71200 | 60440 | 73960 | 24680 | 26600 | 48600 | 47520 | 105120 | 90880 | 63080 | 64440 | 64160 | 67320 | 78120 | 69320 | 4880 | 27920 | 50480 | 44520 | 71320 | 66120 | 49520 | 65440
15360 | 26040 | 27320 | 30960 | 41880 | 41840 | 24160 | 21680 | 63320 | 58200 | 49560 | 61560 | 39440 | 4480 | 46000 | 40000 | 39920 | 26600 | 3480 | 26080 | 68400 | 49960 | 8680 | 2080
29120 | 3160 | 34520 | 1800 | 24000 | 1960 | 25600 | 3680 | 35600 | 4200 | 1520 | 1280 | 1360 | 680 | 1880 | 920 | 1640 | 760 | 8400 | 1000 | 2360 | 1120 | 1640 | 360
320 | 360 | 600 | 320 | 600 | 320 | 680 | 520 | 600 | 400 | 640 | 400 | 360 | 280 | 200 | 360 | 280 | 320 | 440 | 280 | 240 | 280 | 320 | 320
80 | 80 | 200 | 160 | 200 | 160 | 280 | 240 | 200 | 240 | 240 | 160 | 120 | 160 | 160 | 160 | 160 | 120 | 160 | 200 | 120 | 160 | 120 | 200
160 | 280 | 120 | 200 | 160 | 280 | 160 | 280 | 240 | 200 | 80 | 240 | 160 | 280 | 200 | 240 | 200 | 240 | 120 | 280 | 80 | 280 | 160 | 240
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 13.97 | 24.78 | 24.9 | 54 | 54.1 | 20.28 | 20.3 | 1 | US LUM 384 with a little distance from the aperture(1) | 0 | 0 | De=USLum Ex=N/A Em=N/A Wdw=N/A (12) | 0 | 2025-05-29 14:32
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | US LUM 384 with a little distance from the aperture | 0 | 4 | 0.1 | 0:00 | De=USLum Ex=N/A Em=N/A Wdw=N/A (12)
75160 | 7920 | 173080 | 9120 | 108880 | 49640 | 112520 | 118720 | 135480 | 88520 | 96800 | 95960 | 7080 | 5600 | 75640 | 105200 | 112200 | 40560 | 113640 | 114400 | 112520 | 76760 | 74840 | 50120
42000 | 85480 | 39600 | 64640 | 63480 | 82200 | 88360 | 87600 | 39720 | 38760 | 34400 | 52240 | 71680 | 83200 | 73920 | 85680 | 73480 | 65160 | 91000 | 75640 | 54960 | 50760 | 38880 | 53720
49560 | 71200 | 60440 | 73960 | 24680 | 26600 | 48600 | 47520 | 105120 | 90880 | 63080 | 64440 | 64160 | 67320 | 78120 | 69320 | 4880 | 27920 | 50480 | 44520 | 71320 | 66120 | 49520 | 65440
15360 | 26040 | 27320 | 30960 | 41880 | 41840 | 24160 | 21680 | 63320 | 58200 | 49560 | 61560 | 39440 | 4480 | 46000 | 40000 | 39920 | 26600 | 3480 | 26080 | 68400 | 49960 | 8680 | 2080
29120 | 3160 | 34520 | 1800 | 24000 | 1960 | 25600 | 3680 | 35600 | 4200 | 1520 | 1280 | 1360 | 680 | 1880 | 920 | 1640 | 760 | 8400 | 1000 | 2360 | 1120 | 1640 | 360
320 | 360 | 600 | 320 | 600 | 320 | 680 | 520 | 600 | 400 | 640 | 400 | 360 | 280 | 200 | 360 | 280 | 320 | 440 | 280 | 240 | 280 | 320 | 320
80 | 80 | 200 | 160 | 200 | 160 | 280 | 240 | 200 | 240 | 240 | 160 | 120 | 160 | 160 | 160 | 160 | 120 | 160 | 200 | 120 | 160 | 120 | 200
160 | 280 | 120 | 200 | 160 | 280 | 160 | 280 | 240 | 200 | 80 | 240 | 160 | 280 | 200 | 240 | 200 | 240 | 120 | 280 | 80 | 280 | 160 | 240
Basic assay information
Assay ID: |  |  |  | 3443
Assay Started: |  |  |  | 2025-05-29 14:31
Assay Finished: |  |  |  | 2025-05-29 14:32
Assay Exported: |  |  |  | 2025-05-29 14:32
Protocol ID: |  |  |  | 100167
Protocol Name: |  |  |  | Luminescence 384well
Serial#: |  |  |  | 1050635
Protocol information
Protocol:
Protocol name |  |  |  | Luminescence 384well
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Is label meas. height used |  |  |  | Yes
Height of measurement |  |  |  | Defined in label
Is gripper height used |  |  |  | No
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 384 Nunc
Number of rows |  |  |  | 16
Number of columns |  |  |  | 24
Number of the wells in the plate |  |  |  | 384
Height of the plate |  |  |  | 14.4 mm
Coordinates of corners:
384 Nunc
12 mm x--------------------------------------------------------- x 115.5 mm
9 mm 9 mm
12 mm x--------------------------------------------------------- x 115.5 mm
76.5 mm 76.5 mm
Platemap:
Plate |  |  |  | 1
Group |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
B | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
C | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
D | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
E | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
F | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
I
J
K
L
M
N
O
P
- - Undefined
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Crosstalk
Formula |  |  |  | Crosstalk where Label : US LUM 384 with a little distance from the aperture(1) channel 1
Auto export parameters:
Export format |  |  |  | Plate
Include basic assay information |  |  |  | Yes
Place assay information at |  |  |  | End of file
Include basic plate information |  |  |  | Yes
Place plate information at |  |  |  | Beginning of plate
Include protocol information |  |  |  | Yes
Protocol info level |  |  |  | Large
Include error and warning information |  |  |  | Yes
Include background information |  |  |  | Yes
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | D:\Ari\5_29_25_presto_tango_ag_as_antag_round_2_screen\5_29_25_presto_tango_ag_as_antag_round_2_screen.csv
Operations:
Plate 1
Group 1
Measurement
Label |  |  |  | US LUM 384 with a little distance from the aperture(1)
Labels:
US LUM 384 with a little distance from the aperture |  |  |  | 7000007
Measurement height |  |  |  | 0.1 mm
Measurement time |  |  |  | 0.1 s
CT |  |  |  | 0
Aperture |  |  |  | 384 Plate US Luminescence aperture
Last edited |  |  |  | 2023-11-29 11:59
Last edited by |  |  |  | EnVision
Factory preset |  |  |  | No
Aperture:
384 Plate US Luminescence aperture |  |  |  | 9
Height |  |  |  | 4.2 mm
Diameter |  |  |  | 3.7 mm
Description |  |  |  | Can also be used in 96 plate
Last edited |  |  |  | 2020-05-04 11:50
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 1050635
Nickname |  |  |  | EnVision#Alpha_680nm
Normalization:
Exported with EnVision Workstation version 1.14.3049.1193

## Sheet1
[7 empty] | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6
[7 empty] | 75160 | 7920 | 173080 | 9120 | 108880 | 49640 | 112520 | 118720 | 135480 | 88520 | 96800 | 95960 | 7080 | 5600 | 75640 | 105200 | 112200 | 40560 | 113640 | 114400 | 112520 | 76760 | 74840 | 50120
[7 empty] | 42000 | 85480 | 39600 | 64640 | 63480 | 82200 | 88360 | 87600 | 39720 | 38760 | 34400 | 52240 | 71680 | 83200 | 73920 | 85680 | 73480 | 65160 | 91000 | 75640 | 54960 | 50760 | 38880 | 53720
[7 empty] | 49560 | 71200 | 60440 | 73960 | 24680 | 26600 | 48600 | 47520 | 105120 | 90880 | 63080 | 64440 | 64160 | 67320 | 78120 | 69320 | 4880 | 27920 | 50480 | 44520 | 71320 | 66120 | 49520 | 65440
[7 empty] | 15360 | 26040 | 27320 | 30960 | 41880 | 41840 | 24160 | 21680 | 63320 | 58200 | 49560 | 61560 | 39440 | 4480 | 46000 | 40000 | 39920 | 26600 | 3480 | 26080 | 68400 | 49960 | 8680 | 2080
| Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Average | TTest
OxA | 75160 | 173080 | 75640 | 105200 | 107270
DMSO | 7920 | 9120 | 7080 | 5600 | 7430 | 0.011294
d64 | 108880 | 49640 | 112200 | 40560 | 77820 | 0.18167
d65 | 112520 | 118720 | 113640 | 114400 | 114820 | 0.38244
d66 | 135480 | 88520 | 112520 | 76760 | 103320 | 0.44376
d67 | 96800 | 95960 | 74840 | 50120 | 79430 | 0.16639
d68 | 42000 | 85480 | 71680 | 83200 | 70590 | 0.10816
d69 | 39600 | 64640 | 73920 | 85680 | 65960 | 0.086646
d70 | 63480 | 82200 | 73480 | 65160 | 71080 | 0.10717
d71 | 88360 | 87600 | 91000 | 75640 | 85650 | 0.20951
d72 | 39720 | 38760 | 54960 | 50760 | 46050 | 0.037213
d73 | 34400 | 52240 | 38880 | 53720 | 44810 | 0.035115
d74 | 49560 | 71200 | 64160 | 67320 | 63060 | 0.074747
d75 | 60440 | 73960 | 78120 | 69320 | 70460 | 0.10415
d77 | 24680 | 26600 | 4880 | 27920 | 21020 | 0.014947
d78 | 48600 | 47520 | 50480 | 44520 | 47780 | 0.040687
d79 | 105120 | 90880 | 71320 | 66120 | 83360 | 0.19487
d80 | 63080 | 64440 | 49520 | 65440 | 60620 | 0.067428
d81 | 15360 | 26040 | 39440 | 4480 | 21330 | 0.014019
d82 | 27320 | 30960 | 46000 | 40000 | 36070 | 0.025652
d83 | 41880 | 41840 | 39920 | 26600 | 37560 | 0.027323
d84 | 24160 | 21680 | 3480 | 26080 | 18850 | 0.014055
d85 | 63320 | 58200 | 68400 | 49960 | 59970 | 0.065529
d86 | 49560 | 61560 | 8680 | 2080 | 30470 | 0.018389
| Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Average
OxA | 0.70066 | 1.6135 | 0.70514 | 0.9807 | 1
DMSO | 0.073832 | 0.085019 | 0.066002 | 0.052205 | 0.069264 | 0.011294
d64 | 1.015 | 0.46276 | 1.046 | 0.37811 | 0.72546 | 0.18167
d65 | 1.0489 | 1.1067 | 1.0594 | 1.0665 | 1.0704 | 0.38244
d66 | 1.263 | 0.82521 | 1.0489 | 0.71558 | 0.96318 | 0.44376
d67 | 0.9024 | 0.89457 | 0.69768 | 0.46723 | 0.74047 | 0.16639
d68 | 0.39154 | 0.79687 | 0.66822 | 0.77561 | 0.65806 | 0.10816
d69 | 0.36916 | 0.60259 | 0.6891 | 0.79873 | 0.6149 | 0.086646
d70 | 0.59178 | 0.76629 | 0.685 | 0.60744 | 0.66263 | 0.10717
d71 | 0.82372 | 0.81663 | 0.84833 | 0.70514 | 0.79845 | 0.20951
d72 | 0.37028 | 0.36133 | 0.51235 | 0.4732 | 0.42929 | 0.037213
d73 | 0.32069 | 0.487 | 0.36245 | 0.50079 | 0.41773 | 0.035115
d74 | 0.46201 | 0.66375 | 0.59812 | 0.62758 | 0.58786 | 0.074747
d75 | 0.56344 | 0.68948 | 0.72826 | 0.64622 | 0.65685 | 0.10415
d77 | 0.23007 | 0.24797 | 0.045493 | 0.26028 | 0.19595 | 0.014947
d78 | 0.45306 | 0.44299 | 0.47059 | 0.41503 | 0.44542 | 0.040687
d79 | 0.97996 | 0.84721 | 0.66486 | 0.61639 | 0.7771 | 0.19487
d80 | 0.58805 | 0.60073 | 0.46164 | 0.61005 | 0.56512 | 0.067428
d81 | 0.14319 | 0.24275 | 0.36767 | 0.041764 | 0.19884 | 0.014019
d82 | 0.25468 | 0.28862 | 0.42882 | 0.37289 | 0.33625 | 0.025652
d83 | 0.39042 | 0.39004 | 0.37215 | 0.24797 | 0.35014 | 0.027323
d84 | 0.22523 | 0.20211 | 0.032442 | 0.24312 | 0.17572 | 0.014055
d85 | 0.59029 | 0.54256 | 0.63764 | 0.46574 | 0.55906 | 0.065529
d86 | 0.46201 | 0.57388 | 0.080917 | 0.01939 | 0.28405 | 0.018389